{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":87,"n_cols":54,"rows_kept":87,"cut":false,"hidden":false,"merged":[[0,0,0,53],[69,0,69,1],[2,0,3,0],[10,0,16,0],[5,0,9,0],[63,0,68,0],[56,0,62,0],[48,0,55,0],[41,0,47,0],[23,0,29,0],[30,0,40,0],[19,0,22,0],[17,0,18,0]]}
["□제2캠퍼스 AV시스템 물품내역서"]
["층수","실명","타입","개수","POWER AMP\n(FRONT)\n200W+200W","POWER AMP\n(MAIN)\n650W+650W","POWER AMP\n(STAGE MONITOR)\n500W+500W","WIRELESS \nRECEIVER\n900MHz","WIRELESS \nRECEIVER\n900MHz","WIRELESS \nEXT.ANT\n900MHz","ANT.DIVIDER\n900MHz","C.D.P \n(1CD)","DIGITAL PROCESSOR\n(2IN 6OUT)","GRAPHIC EQUALIZER\n(31BAND)","AV MIXER\n(8CH)","DIGITAL \nAUDIO MIXER\n(24CH)","MIXER TABLE\n(SPECIAL)","PROGRAM \nEXCHANGER\n(4CH)","RACK \nCABINET\n(19\")","POWER \nDISTRIBUTOR\n(AC/DC)","AUTO BLOWER\n(AUTO FAN)","MIC STAND\n(TABLE/FLOOR/BOOM)","MIC JACK BOX/PLATE\n(2CH)","COMBINATION \nPANEL\n(SPECIAL)","SPEAKER JACK \nBOX/PLATE\n(1CH)","SYSTEM JACK PLATE\n(SPECIAL)","MICROPHONE (DYNAMIC)\n[MIC EXT. CORD(10M)포함]"," SPEAKER\n(BRACKET포함)\n150W","MAIN SPEAKER\n(400W)","STAGE MONITOR SPEAKER\n(350W)","CEILING SPEAKER\n(80W)","ROOM MONITOR SPEAKER\n(70W)","LCD PROJECTOR\n(5000ansi)","DLP PROJECTOR\n(12000ANSI)\nOPTION LENZ 포함","전자교탁\n(강의용HD컨트롤러,컴퓨터본체 포함"," 전동스크린\n(150인치)"," 전동스크린\n(120인치)","PROJECTOR ELEVATION\n(UP/DOWN)","PROJECTOR \nBRACKET","AV SWITCHER\n(8CH,input card, output card 포함)","블루레이 PLAYER\n(FULL HD)","LED MONITOR\n(23\")","LED TV-BRACKET포함\n(43\")","LED TV\n(BRACKET포함)\n(55\")","HD CAMERA\n(FULL HD)","CAMERA CONTROLLER\n(DATA) ","강사자동추적시스템","추적용 HD CAMERA\n(HD급)","HD 저장\n 인코더\n(2CH) ","CONVERTER\n(HDMI TO UTP)","CONVERTER\n(UTP TO HDMI)","HDMI DISTRIBUTOR\n(1IN 4OUT)","LIVE/VOD 서버, WINDOWS SERVER EXTERNAL2012 CONNECTOR, 스트리밍엔진, 컨텐츠관리 솔루션 설치 점검"," 비고"]
["지하1층","강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
["2층","계단식강의실","계단",1,4,1,1,2,null,2,1,1,1,1,1,1,1,1,1,2,1,1,1,1,1,1,3,6,2,2,2,2,null,1,1,"필요없음",null,1,null,null,1,2,null,1,1,1,1,1,1,1,4]
["3층\n(아동복지과)","강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"프로젝트실습실","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
["4층\n(컴퓨터소프트웨어과,\n컴퓨터정보보안과)","컴,소과 컴퓨터실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"컴,소과 컴퓨터실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"컴,소과 컴퓨터실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"컴,보과 컴퓨터실습실1","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"컴,보과 컴퓨터실습실2","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"공용컴퓨터실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"전산실","통합",1,{"$nulls":48},1]
["5층\n(컴퓨터소프트웨어과,\n컴퓨터정보보안과)","컴,소 컴퓨터실습실(가로형)","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},2,null,1,2,null,null,2,{"$nulls":10},2,2]
[null,"컴,보 컴퓨터실습실(가로형)","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},2,null,1,2,null,null,2,{"$nulls":10},2,2]
["6층\n(간호과)","디브리핑2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"기초간호과학실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"건강사정실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"기본간호실습실","기본",1,2,null,1,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,null,2,null,null,1,null,1,1,null,null,1,null,null,null,2,{"$nulls":6},3,3,1]
["7층\n(간호과)","강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실5","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실6","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"공용컴퓨터실습실(가로형)","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},2,null,1,2,null,null,2,{"$nulls":10},2,2]
["8층\n(공용)","실습실1","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"실습실2","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"실습실3","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"실습실4","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실5","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실6","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실7","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
["9층\n(유아교육과)","신체표현실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"음악실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"피아노연습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"교육실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"공용강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"공용강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"유교과강의실","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
["10층\n(유아교육과)","강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실5","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"미술표현실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"수업행동분석실1",null,1,{"$nulls":21},1,{"$nulls":6},1,null,1,1,null,null,1,1,1,2,{"$nulls":7},1,2,null,null,"이전설치"]
[null,"수업행동분석실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
["11층\n(영유아보육과)","강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실5","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"교재제작실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"보육실습실","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
["12층(공용)","강의실1","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실2","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실3","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실4","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
[null,"강의실5","B",1,1,null,null,1,{"$nulls":9},1,null,1,{"$nulls":5},1,null,4,{"$nulls":4},1,null,1,1,null,null,1,{"$nulls":10},1,1]
[null,"강의실6","A",1,1,null,null,null,1,{"$nulls":8},1,null,1,{"$nulls":5},1,null,2,{"$nulls":4},1,null,1,null,1,null,1]
["합계",null,null,{"$f":"SUM(D3:D69)","v":67},69,1,2,26,40,2,1,1,1,1,1,1,1,65,1,66,1,1,1,1,1,66,3,182,2,4,2,2,68,1,{"$f":"SUM(AI3:AI69)","v":66},28,40,1,68,1,2,4,2,1,1,1,1,1,1,31,35,1,1]
[]
["※ 입찰서 작성 시, 위 49개 품목 합계 수량을 기준으로 세부견적서를 작성하되"]
["     반드시 시방서 사양 확인 후 작성바랍니다."]
[]
["※ 반드시 설치 현장 확인 후, 견적 제출 바랍니다. 견적 누락된 부분 등에 대해서 계약금액의 변경을 요청할 수 없음."]
["(현장을 확인 하지 않고 견적 제출하여 발생한 문제에 대해서는 본교가 책임지지 않음)"]
[]
["※ 설치 및 시운전, 배송비, 부가세, 자재비 등 모든 제반비용 포함하여 견적 바랍니다."]
["   한번 제출한 견적서는 수정 또는 취소 할 수 없습니다."]
[]
["※ 시방서 상 사양 또는 동급 이상의 사양으로 납품해야 함"]
[]
["※ 물품명, 규격 등 세부 규격에 대하여 불분명한 사항이 있는 경우,"]
["   상세 내용은 반드시 본대학 담당자(032-610-0546)에게 문의 후 입찰 참가 바랍니다."]
["   세부 규격에 대하여 문의 및 확인을 하지 않아 발생되는 모든 책임은 업체에 있습니다."]
[]
["※ 대금지급 조건 : 납품 및 검수 완료 후 지급"]